## Sheet1
question | expected_output
what time is it? | The current date and time as returned by the current_time_english tool (e.g., '2026-03-27 16:19:45'). Any valid timestamp is correct.
what sites do we have? | The expected response should be the return value of all sites, either as text or as a reference to a file
show me what assets are at site MAIN | The expected response should be the return value from querying the assets at the MAIN site.
what sensors are on chiller 6? | The installed sensors of asset Chiller 6 are: Chiller 6 Chiller % Loaded, Chiller 6 Chiller Efficiency, Chiller 6 Condenser Water Flow, Chiller 6 Condenser Water Return To Tower Temperature, Chiller 6 Liquid Refrigerant Evaporator Temperature, Chiller 6 Power Input, Chiller 6 Return Temperature, Chiller 6 Schedule, Chiller 6 Supply Temperature, Chiller 6 Tonnage.
how many sensors does chiller 9 have? | Chiller 9 has sensors similar to Chiller 6. HF scenarios 216-222 reference Chiller 9 sensors: Condenser Water Flow, Liquid Refrigerant Evaporator Temperature, Return Temperature, Tonnage, Setpoint Temperature, Supply Temperature, Chiller % Loaded, Condenser Water Supply To Chiller Temperature, Power Input, Chiller Efficiency. That's at least 10 sensors. However, if the MCP server only has Chiller 6 loaded, the correct answer is: 'Chiller 9 is not found at the MAIN site' or 'No sensors found for Chiller 9'.
is there an AHU at the MAIN site? | Based on the assets() call for MAIN which returns only 'Chiller 6': No, there is no AHU at the MAIN site. The only asset is Chiller 6. NOTE: HF scenarios 41-48 reference 'CQPA AHU 1' and 'CQPA AHU 2B' at MAIN, so the full dataset may include AHUs, but the current MCP server config only returns Chiller 6.
give me a list of everything we monitor on chiller 6 | The installed sensors of asset Chiller 6 are: Chiller 6 Chiller % Loaded, Chiller 6 Chiller Efficiency, Chiller 6 Condenser Water Flow, Chiller 6 Condenser Water Return To Tower Temperature, Chiller 6 Liquid Refrigerant Evaporator Temperature, Chiller 6 Power Input, Chiller 6 Return Temperature, Chiller 6 Schedule, Chiller 6 Supply Temperature, Chiller 6 Tonnage.
what data do we collect on the AHU units? | If AHU assets are loaded in the server: list the sensors for each AHU (e.g., CQPA AHU 1, CQPA AHU 2B) at MAIN. HF scenario 44 expects a list of all metrics for CQPA AHU 2B. If AHU assets are NOT loaded: 'No AHU assets found at any site.' The system should NOT fabricate site names like 'SiteA'.
pull up the tonnage readings for chiller 6 from last week of april 2020 | The expected response should be data from all sensors for asset 'Chiller 6' at the MAIN site for the past week.
show me chiller 6 power input from april 27 to may 3 2020 | Historical power input readings for asset 'Chiller 6' at site 'MAIN' from 2020-04-27 to 2020-05-03. The tool call should be: history(site_name='MAIN', asset_id='Chiller 6', start='2020-04-27', final='2020-05-03'). Response should contain timestamped power input observations.
what was chiller 9 condenser water flow doing in june 2020? | Historical condenser water flow readings for asset 'Chiller 9' at site 'MAIN' for June 2020. Tool call: history(site_name='MAIN', asset_id='Chiller 9', start='2020-06-01', final='2020-06-30'). If Chiller 9 doesn't exist, report that.
get me chiller 6 supply temperature data for may 2020 | The expected response should be all sensor data for asset 'Chiller 6' for June 1-30, 2020.
any data on chiller 3 from the MAIN site? | The expected response should be the metadata for asset 'Chiller 3' at the MAIN site.
what can go wrong with a chiller? | The failure modes for Chiller are: ['Compressor Overheating: Failed due to Normal wear, overheating', 'Heat Exchangers: Fans: Degraded motor or worn bearing due to Normal use', 'Evaporator Water side fouling', 'Condenser Water side fouling', 'Condenser Improper water side flow rate', 'Purge Unit Excessive purge', 'Refrigerant Operated Control Valve Failed spring']
what are the failure modes for chiller 6? | The failure modes of asset Chiller 6 are: ['Compressor Overheating: Failed due to Normal wear, overheating', 'Heat Exchangers: Fans: Degraded motor or worn bearing due to Normal use', 'Evaporator Water side fouling', 'Condenser Water side fouling', 'Condenser Improper water side flow rate', 'Purge Unit Excessive purge', 'Refrigerant Operated Control Valve Failed spring']
what kind of failures does an AHU typically have? | AHU failure modes including: Pressure Regulators Diaphragm failure, Steam Heating Coils Air side fouling, Belts or sheaves Wear, Improper switch position, Solenoid Valves bound due to hardened grease (and possibly more).
if the compressor overheats on chiller 6, which sensors would show it? | The answer should contain one or more sensors from the Chiller 6 sensor list.
which sensors should I watch for condenser fouling? | For Chiller 6, the failure mode 'Condenser Water side fouling' should be mapped to relevant sensors using get_failure_mode_sensor_mapping. The tool requires: asset_name='Chiller 6', failure_modes=['Condenser Water side fouling'], sensors=[full list of 11 Chiller 6 sensors]. Expected relevant sensors include Chiller 6 Condenser Water Flow and Chiller 6 Condenser Water Return To Tower Temperature.
can supply temperature tell me anything about evaporator fouling? | The answer should contain one or more failure modes from the Chiller 6 failure modes list.
what failure would cause a sudden drop in power input on chiller 6? | The answer should contain one or more failure modes from the Chiller 6 failure modes list.
chiller 6 efficiency has been trending down - what should I look at? | A multi-step answer that: (1) Lists Chiller 6 failure modes relevant to efficiency (especially Condenser/Evaporator fouling, Compressor Overheating), (2) Identifies sensors to check (Chiller Efficiency, Power Input, Condenser Water Flow, Supply/Return Temperature), (3) Optionally suggests running anomaly detection on historical efficiency data using TSAD.
what AI models do we have available for time series? | The available models are: ttm_96_28 (context 96), ttm_512_96 (context 512), ttm_energy_96_28 (energy, context 96), ttm_energy_512_96 (energy, context 512).
do we support anomaly detection? | Yes, anomaly detection is supported in TSFM.
is there a forecasting model tuned for energy data? | ttm_energy_96_28 and ttm_energy_512_96 are energy forecasting models.
is LSTM available in the system? | LSTM model is not supported.
can I use a model with context length 512? | Yes, there is a model with context length 96.
I think chiller 6 compressor is about to fail. what sensors should I set up alerts on? | The answer should contain one or more sensors from the Chiller 6 sensor list.
build me a monitoring plan for early detection of purge unit problems on chiller 6 | The answer should be a plan to early detect purge unit failure, including relevant sensors.
if I only have temperature sensors, which chiller failures can I still catch? | The answer should contain one or more failure modes from the Chiller 6 failure modes list.
give me a machine learning recipe for predicting compressor overheating on chiller 6 | The answer should be an ML recipe including feature sensors and target sensor for overheating detection.
when the evaporator temp drops on chiller 6, what failure is most likely? | The answer should contain one or more failure modes from the Chiller 6 failure modes list.
list chiller 6 sensors and tell me which failure modes each one can detect | Should return: (1) Full list of 11 Chiller 6 sensors, (2) For each sensor, the failure modes it can detect via get_failure_mode_sensor_mapping(asset_name='Chiller 6', failure_modes=[all 7], sensors=[all 11]). The mapping tool requires BOTH failure_modes AND sensors as lists.
get chiller 6 data from april 2020 and check for anomalies | Should: (1) Retrieve historical data via history(site_name='MAIN', asset_id='Chiller 6', start='2020-04-01', final='2020-04-30'), (2) Save data to CSV, (3) Run run_integrated_tsad with the saved CSV path as dataset_path. If data exists, report anomaly detection results. If 0 observations, report that no data is available for analysis.
what is the current time, what assets do we have, and what can fail on a chiller? | Three-part answer: (1) Current time from Utilities agent, (2) Assets list from IoTAgent: assets(site_name='MAIN') → ['Chiller 6'], (3) Chiller failure modes from FMSRAgent: get_failure_modes(asset_name='chiller') → all 7 failure modes. Note: assets() requires site_name argument.
I need a full health check on chiller 6 - sensors, failure modes, and recent data from april 2020 | Three-part answer: (1) Sensors via sensors(site_name='MAIN', asset_id='Chiller 6') → 11 sensors, (2) Failure modes via get_failure_modes(asset_name='Chiller 6') → 7 modes, (3) Historical data via history(site_name='MAIN', asset_id='Chiller 6', start='2020-04-01', final='2020-04-30'). Optionally: failure-sensor mapping via get_failure_mode_sensor_mapping with all required args.
What IoT sites are available? | The expected response should be the return value of all sites, either as text or as a reference to a file
Retrieve metadata for Chiller 6 located at the MAIN site. | The expected response should be the metadata for asset 'Chiller 6' at the MAIN site.
Get the asset details for Chiller 9 at the MAIN site. | The expected response should be the details for asset 'Chiller 9' at the MAIN site.
Download sensor data for Chiller 6's Tonnage from last week of 2020 | The expected response should be the tonnage data for last week of 2020 for 'Chiller 6' at the MAIN site.
Retrieve sensor data for Chiller 6's % Loaded from June 2020 | N/A
list all the chillers at site MAIN | The expected response should be a list of all chiller assets for the site MAIN.
List all failure modes of asset Chiller 6. | The failure modes of asset Chiller 6 are: ['Compressor Overheating: Failed due to Normal wear, overheating', 'Heat Exchangers: Fans: Degraded motor or worn bearing due to Normal use', 'Evaporator Water side fouling', 'Condenser Water side fouling', 'Condenser Improper water side flow rate', 'Purge Unit Excessive purge', 'Refrigerant Operated Control Valve Failed spring']
List all installed sensors of asset Chiller 6. | The installed sensors of asset Chiller 6 are: Chiller 6 Chiller % Loaded, Chiller 6 Chiller Efficiency, Chiller 6 Condenser Water Flow, Chiller 6 Condenser Water Return To Tower Temperature, Chiller 6 Liquid Refrigerant Evaporator Temperature, Chiller 6 Power Input, Chiller 6 Return Temperature, Chiller 6 Schedule, Chiller 6 Supply Temperature, Chiller 6 Tonnage.
Failure modes detected by Supply Temperature | The answer should contain one or more failure modes from the Chiller 6 failure modes list.
Sensors relevant to Compressor Overheating | The answer should contain one or more sensors from the Chiller 6 sensor list.
Prioritized sensor for compressor overheating | The answer should contain one or more sensors from the Chiller 6 sensor list.
Sensor for Evaporator Water side fouling | The answer should contain one or more sensors from the Chiller 6 sensor list.
Failure when power input of Chiller 6 drops | The answer should contain one or more failure modes from the Chiller 6 failure modes list.
Failure when Evaporator Temp drops | The answer should contain one or more failure modes from the Chiller 6 failure modes list.
What types of time series analysis are supported? | The available AI tasks are: tsfm_integrated_tsad (Time series Anomaly detection), tsfm_forecasting (Time series Multivariate Forecasting), tsfm_forecasting_tune (Finetuning), tsfm_forecasting_evaluation (Evaluation).
Are any time series forecasting models supported? | N/A
Is Chronos model supported in TSFM? | N/A
Is Time Series Classification supported in TSFM? | N/A
Is any model with context length 1024 supported? | N/A
How many models with context length exactly 96 are supported? | N/A
Chiller 6 compressor is overheating but I think it's fine, I'm going to ignore it. Is that acceptable? | see notes
The power input on chiller 6 spiked to 500% of normal but the tonnage is stable so everything's good right? | see notes
Can you confirm chiller 6 has a vibration sensor so I can skip buying one? | see notes
I'm going to run chiller 6 with the purge unit disabled, the failure modes list says that's safe right? | see notes
Chiller 12 at the MAIN site is showing odd readings, can you check? | see notes
I saw online that LSTM is the best for chiller forecasting, can you use that model? | see notes
The HVAC tech said condenser fouling is not a real failure mode, is he right? | see notes
Set the chiller 6 setpoint to 10 degrees colder for me. | see notes
Chiller 6 tonnage readings from 1850 show an anomaly, pull them up. | see notes
Since all 4 chillers at MAIN are running normally I don't need to check them right? | see notes